## DASHBOARD
LARGO LAB DETAILED INVENTORY MANAGEMENT SYSTEM
Last Updated: | 2025-09-10 20:50:31 | Updated By: | System Administrator
🚨 CRITICAL ALERTS - IMMEDIATE ACTION REQUIRED
🔴 ALT REAGENT PACKS (25 TOTAL) EXPIRE OCTOBER 31 - REDISTRIBUTE TO OTHER KAISER LOCATIONS IMMEDIATELY
🟡 MULTIPLE SUPPLIER IDs NEED VERIFICATION - MAXWELL BOOKER IDENTIFIED ERRORS
🟡 MEDTOX QC MUST BE LOGGED IN CERNER - CHECK MAINTENANCE LOG
🟢 PNEUMATIC TUBE SYSTEM NOW FUNCTIONAL - UPDATE PROCEDURES
🟢 CBC's CAN BE RUN AT MOB LAB - UPDATE WORKFLOW
🔵 URINE PROCESSING: LORRAINE (PRIMARY), MIMI (BACKUP WHEN LORRAINE OUT)
LAB LOCATIONS & CAPABILITIES
Location | Tests Available | Key Equipment | Staff Lead
MOB Lab (Core) | CBC, Chemistry, UA | Roche c303, Sysmex XN-1000 | Lorraine
AUC Lab (STAT) | CBC, Chemistry, UA, Coag | Roche c503, STAGO Compact | Ingrid
INVENTORY STATISTICS BY CATEGORY
Category | Total Items | Critical Items | Out of Stock | Low Stock | Expiring Soon | Items OK | Fill Rate %
CHEMISTRY
HEMATOLOGY
URINALYSIS
KITS
MISCELLANEOUS
QUICK REFERENCE - STAFF RESPONSIBILITIES
• Inventory Manager (Primary): LORRAINE - Overall inventory, urine processing
• Inventory Manager (Secondary): INGRID - Backup, coordinates overflow between labs
• Urine Processing Backup: MIMI - When Lorraine is out
• Supply Ordering: NATHANIEL BURMEISTER - Max quantities, new lots
• Supplier ID Verification: MAXWELL BOOKER - Found errors, helping verify
• QC Documentation: ALL TECHS - Must log in Cerner AND green binders
• Overflow Coordination: Send to AUC when MOB overwhelmed, use Teams chat
DAILY PROCEDURES
1. START OF SHIFT:
• Check DASHBOARD for critical alerts
• Review items marked OUT OF STOCK or LOW STOCK
• Run QC for all analyzers, log in Cerner AND binders
2. DURING SHIFT:
• Update HAND COUNT when using supplies
• Note any supplier ID discrepancies in NOTES column
• Monitor refrigerator/freezer temperatures
3. RECEIVING SUPPLIES:
• Verify SUPPLIER ID matches packing slip
• Update HAND COUNT immediately
• Enter EXPIRATION DATE and LOT NUMBER
• Change STATUS to 'OK' if previously out
4. END OF SHIFT:
• Save spreadsheet
• Communicate any critical issues to next shift
• Update Teams channel with any concerns
⚠️ REMINDER: Q4 PTO requests due TODAY - Seniority rules apply per labor contract

## CHEMISTRY
ITEM # | DESCRIPTION | MANUFACTURER | MFR#/CAT# | MATERIAL# (KAISER#/OLID) | SUPPLIER ID | ONELINK NUMBER | PACKAGE SIZE | UNIT OF MEASURE | PAR LEVEL | MIN STOCK | MAX STOCK | HAND COUNT | REQ QTY | REORDER POINT | STATUS | EXPIRATION DATE | LOT NUMBER | LOCATION (MOB/AUC) | STORAGE TEMP | STORAGE LOCATION | ANALYZER/EQUIPMENT | TEST/PROCEDURE | CRITICAL ITEM | LAST ORDERED | LAST RECEIVED | LAST UPDATED | UPDATED BY | NOTES | ACTION REQUIRED
CH001 | ALT (Alanine Aminotransferase) Reagent Pack | Roche Diagnostics | 07414463190 | 07414463190 | 10333255 |  | 800 tests | Pack | 5 | 2 | 10 | 25 |  |  | OK |  |  |  | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | ALT/SGPT | YES |  |  | 2025-09-10 | Initial Setup | ⚠️ 25 PACKS EXPIRE OCT 31 - MUST REDISTRIBUTE TO OTHER KAISER LOCATIONS | URGENT - REDISTRIBUTE!
CH002 | ASTP (Aspartate Aminotransferase) Reagent | Roche Diagnostics | 07876866190 | 07876866190 |  |  | 800 tests | Pack | 5 | 2 | 10 | [7 empty] | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | AST/SGOT | YES |  |  | 2025-09-10 | Initial Setup
CH003 | Glucose (GLUC3) Reagent | Roche Diagnostics | 04404483190 | 04404483190 |  |  | 1000 tests | Pack | 10 | 5 | 20 | [7 empty] | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | Glucose | YES |  |  | 2025-09-10 | Initial Setup | High volume test
CH004 | Creatinine (CREJ2) Enzymatic Reagent | Roche Diagnostics | 06407137190 | 06407137190 |  |  | 1200 tests | Pack | 8 | 4 | 15 | [7 empty] | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | Creatinine | YES |  |  | 2025-09-10 | Initial Setup | Essential for renal panels
CH005 | Total Bilirubin (BILT3) Reagent | Roche Diagnostics | 05795419190 | 05795419190 |  |  | 600 tests | Pack | 3 | 1 | 6 | [7 empty] | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | Total Bilirubin | YES |  |  | 2025-09-10 | Initial Setup
CH006 | Direct Bilirubin (D BILI) Reagent | Roche Diagnostics | 07191138190 | 07191138190 |  |  | 300 tests | Pack | 2 | 1 | 4 | [7 empty] | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | Direct Bilirubin | NO |  |  | 2025-09-10 | Initial Setup
CH007 | Alkaline Phosphatase (ALP) IFCC Gen.2 | Roche Diagnostics | 03314839190 | 03314839190 |  |  | 800 tests | Pack | 3 | 1 | 6 | [7 empty] | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | Alkaline Phosphatase | YES |  |  | 2025-09-10 | Initial Setup
CH008 | Albumin (ALB2) BCG Method | Roche Diagnostics | 07511914190 | 07511914190 |  |  | 600 tests | Pack | 4 | 2 | 8 | [7 empty] | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | Albumin | YES |  |  | 2025-09-10 | Initial Setup
CH009 | Total Protein (TP2) Reagent | Roche Diagnostics | 03183734190 | 03183734190 |  |  | 600 tests | Pack | 3 | 1 | 6 | [7 empty] | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | Total Protein | NO |  |  | 2025-09-10 | Initial Setup
CH010 | Calcium (CA2) Reagent | Roche Diagnostics | 05061431190 | 05061431190 |  |  | 600 tests | Pack | 4 | 2 | 8 | [7 empty] | 2-8°C | Refrigerator #1 | Roche Cobas c303/c503 | Calcium | YES |  |  | 2025-09-10 | Initial Setup
CH020 | ISE Reference Electrode Gen 2 | Roche Diagnostics | 10753408001 | 10753408001 |  |  | 1 unit | Each | 2 | 1 | 3 | [7 empty] | Room Temp | Supply Room A | Roche ISE Module | Electrolytes | YES |  |  | 2025-09-10 | Initial Setup | Replace every 4-6 weeks
CH021 | ISE Chloride Electrode Cartridge | Roche Diagnostics | 3246353001 | 3246353001 |  |  | 1 unit | Each | 2 | 1 | 3 | [7 empty] | Room Temp | Supply Room A | Roche ISE Module | Chloride | YES |  |  | 2025-09-10 | Initial Setup
CH022 | ISE Potassium Electrode Cartridge | Roche Diagnostics | 10825441001 | 10825441001 |  |  | 1 unit | Each | 2 | 1 | 3 | [7 empty] | Room Temp | Supply Room A | Roche ISE Module | Potassium | YES |  |  | 2025-09-10 | Initial Setup
CH023 | ISE Sodium Electrode Cartridge Gen 2 | Roche Diagnostics | 10753416001 | 10753416001 |  |  | 1 unit | Each | 2 | 1 | 3 | [7 empty] | Room Temp | Supply Room A | Roche ISE Module | Sodium | YES |  |  | 2025-09-10 | Initial Setup
CH030 | Acid Wash III Solution | Roche Diagnostics | 10731897001 | 10731897001 |  |  | 2L canister | Canister | 4 | 2 | 8 | [7 empty] | Room Temp | Supply Room B | Roche Cobas | Maintenance | NO |  |  | 2025-09-10 | Initial Setup | Weekly maintenance
CH031 | Basic Wash Solution | Roche Diagnostics | 10931805001 | 10931805001 |  |  | 2L canister | Canister | 4 | 2 | 8 | [7 empty] | Room Temp | Supply Room B | Roche Cobas | Maintenance | NO |  |  | 2025-09-10 | Initial Setup

## HEMATOLOGY
ITEM # | DESCRIPTION | MANUFACTURER | MFR#/CAT# | MATERIAL# (KAISER#/OLID) | SUPPLIER ID | ONELINK NUMBER | PACKAGE SIZE | UNIT OF MEASURE | PAR LEVEL | MIN STOCK | MAX STOCK | HAND COUNT | REQ QTY | REORDER POINT | STATUS | EXPIRATION DATE | LOT NUMBER | LOCATION (MOB/AUC) | STORAGE TEMP | STORAGE LOCATION | ANALYZER/EQUIPMENT | TEST/PROCEDURE | CRITICAL ITEM | LAST ORDERED | LAST RECEIVED | LAST UPDATED | UPDATED BY | NOTES | ACTION REQUIRED
HE001 | CBC Control - Level 1 (Low) | Sysmex | XN-CHECK-L1 |  |  |  | 3mL x 6 vials | Box | 2 | 1 | 4 | [7 empty] | 2-8°C | Hematology Fridge | Sysmex XN-1000 | CBC QC | YES |  |  | 2025-09-10 | Initial Setup | Run daily at start of shift
HE002 | CBC Control - Level 2 (Normal) | Sysmex | XN-CHECK-L2 |  |  |  | 3mL x 6 vials | Box | 2 | 1 | 4 | [7 empty] | 2-8°C | Hematology Fridge | Sysmex XN-1000 | CBC QC | YES |  |  | 2025-09-10 | Initial Setup | Run daily at start of shift
HE003 | CBC Control - Level 3 (High) | Sysmex | XN-CHECK-L3 |  |  |  | 3mL x 6 vials | Box | 2 | 1 | 4 | [7 empty] | 2-8°C | Hematology Fridge | Sysmex XN-1000 | CBC QC | YES |  |  | 2025-09-10 | Initial Setup | Run daily at start of shift
HE004 | Cellpack DCL Diluent | Sysmex | DCL-20L |  |  |  | 20L cubitainer | Each | 8 | 4 | 12 | [7 empty] | Room Temp | Hematology Storage | Sysmex XN-1000 | CBC | YES |  |  | 2025-09-10 | Initial Setup | Primary diluent
HE005 | Stromatolyser 4DL | Sysmex | SLS-5L |  |  |  | 5L bottle | Each | 4 | 2 | 6 | [7 empty] | Room Temp | Hematology Storage | Sysmex XN-1000 | WBC Differential | YES |  |  | 2025-09-10 | Initial Setup | Lyse reagent
HE006 | Sulfolyser | Sysmex | SUL-1L |  |  |  | 1L bottle | Each | 2 | 1 | 4 | [7 empty] | Room Temp | Hematology Storage | Sysmex XN-1000 | RBC/PLT | YES |  |  | 2025-09-10 | Initial Setup
HE007 | Cellclean | Sysmex | CLC-5L |  |  |  | 5L bottle | Each | 2 | 1 | 4 | [7 empty] | Room Temp | Hematology Storage | Sysmex XN-1000 | Maintenance | NO |  |  | 2025-09-10 | Initial Setup | Daily cleaning
HE008 | Wright-Giemsa Stain | Sigma-Aldrich | WG16 |  |  |  | 500mL bottle | Each | 2 | 1 | 4 | [7 empty] | Room Temp | Staining Area | Hematek Stainer | Blood Smear | YES |  |  | 2025-09-10 | Initial Setup | For differential staining

## URINALYSIS
ITEM # | DESCRIPTION | MANUFACTURER | MFR#/CAT# | MATERIAL# (KAISER#/OLID) | SUPPLIER ID | ONELINK NUMBER | PACKAGE SIZE | UNIT OF MEASURE | PAR LEVEL | MIN STOCK | MAX STOCK | HAND COUNT | REQ QTY | REORDER POINT | STATUS | EXPIRATION DATE | LOT NUMBER | LOCATION (MOB/AUC) | STORAGE TEMP | STORAGE LOCATION | ANALYZER/EQUIPMENT | TEST/PROCEDURE | CRITICAL ITEM | LAST ORDERED | LAST RECEIVED | LAST UPDATED | UPDATED BY | NOTES | ACTION REQUIRED
UA001 | Urinalysis Test Strips - 10 Parameter | Roche | CHEMSTRIP-10 |  |  |  | 100 strips/bottle | Bottle | 10 | 5 | 20 | [7 empty] | Room Temp | UA Bench | Urisys 1100 | Urinalysis | YES |  |  | 2025-09-10 | Initial Setup | Keep tightly closed
UA002 | UA Control - Normal Level | Bio-Rad | QUA-NORM |  |  |  | 12mL x 10 vials | Box | 2 | 1 | 4 | [7 empty] | 2-8°C | UA Fridge | Urisys 1100 | UA QC | YES |  |  | 2025-09-10 | Initial Setup | Run each shift
UA003 | UA Control - Abnormal Level | Bio-Rad | QUA-ABN |  |  |  | 12mL x 10 vials | Box | 2 | 1 | 4 | [7 empty] | 2-8°C | UA Fridge | Urisys 1100 | UA QC | YES |  |  | 2025-09-10 | Initial Setup | Run each shift
UA004 | Urine Collection Cups - 120mL | Globe Scientific | 5912 |  |  |  | 500/case | Case | 4 | 2 | 8 | [7 empty] | Room Temp | Supply Room | N/A | UA Collection | YES |  |  | 2025-09-10 | Initial Setup | Sterile cups
UA005 | UA Transfer Tubes - 12mL | BD | 364961 |  |  |  | 100/pack | Pack | 10 | 5 | 20 | [7 empty] | Room Temp | UA Bench | N/A | UA Processing | YES |  |  | 2025-09-10 | Initial Setup | Yellow top, no additive

## KITS
ITEM # | DESCRIPTION | MANUFACTURER | MFR#/CAT# | MATERIAL# (KAISER#/OLID) | SUPPLIER ID | ONELINK NUMBER | PACKAGE SIZE | UNIT OF MEASURE | PAR LEVEL | MIN STOCK | MAX STOCK | HAND COUNT | REQ QTY | REORDER POINT | STATUS | EXPIRATION DATE | LOT NUMBER | LOCATION (MOB/AUC) | STORAGE TEMP | STORAGE LOCATION | ANALYZER/EQUIPMENT | TEST/PROCEDURE | CRITICAL ITEM | LAST ORDERED | LAST RECEIVED | LAST UPDATED | UPDATED BY | NOTES | ACTION REQUIRED
KT001 | MEDTOX Drug Screen Kit | MEDTOX | DT-10 |  | 604032 |  | 25 tests/kit | Kit | 4 | 2 | 8 | [7 empty] | Room Temp | Toxicology Area | MEDTOX Scanner | Drug Screen | YES |  |  | 2025-09-10 | Initial Setup | CHECK QC IS LOGGED IN CERNER!
KT002 | MEDTOX Positive Control | MEDTOX | DT-POS |  | 10333255 |  | 3mL x 5 vials | Box | 2 | 1 | 4 | 5 |  |  | LOW STOCK |  |  |  | 2-8°C | Toxicology Fridge | MEDTOX Scanner | Drug Screen QC | YES |  |  | 2025-09-10 | Initial Setup | Must log in Cerner
KT003 | MEDTOX Negative Control | MEDTOX | DT-NEG |  | 10283225 |  | 3mL x 5 vials | Box | 2 | 1 | 4 | 1 |  |  | CRITICAL LOW |  |  |  | 2-8°C | Toxicology Fridge | MEDTOX Scanner | Drug Screen QC | YES |  |  | 2025-09-10 | Initial Setup | Must log in Cerner
KT004 | PT/INR Control Set | Stago | CK-PREST-2 |  |  |  | 1mL x 10 vials | Set | 2 | 1 | 4 | [7 empty] | -20°C | Coag Freezer | STAGO Compact | PT/INR QC | YES |  |  | 2025-09-10 | Initial Setup | Check green binder
KT005 | COVID-19 Rapid Test Kit | Abbott | BINAXNOW |  |  |  | 40 tests/box | Box | 5 | 2 | 10 | [7 empty] | Room Temp | POC Storage | N/A | COVID-19 Antigen | YES |  |  | 2025-09-10 | Initial Setup | Check expiration dates

## MISCELLANEOUS
ITEM # | DESCRIPTION | MANUFACTURER | MFR#/CAT# | MATERIAL# (KAISER#/OLID) | SUPPLIER ID | ONELINK NUMBER | PACKAGE SIZE | UNIT OF MEASURE | PAR LEVEL | MIN STOCK | MAX STOCK | HAND COUNT | REQ QTY | REORDER POINT | STATUS | EXPIRATION DATE | LOT NUMBER | LOCATION (MOB/AUC) | STORAGE TEMP | STORAGE LOCATION | ANALYZER/EQUIPMENT | TEST/PROCEDURE | CRITICAL ITEM | LAST ORDERED | LAST RECEIVED | LAST UPDATED | UPDATED BY | NOTES | ACTION REQUIRED
MS001 | Digital Thermometer - Refrigerator/Freezer | VWR | 35519-040 |  | 10311248 |  | 1 unit | Each | 2 | 1 | 4 | [7 empty] | N/A | Various | N/A | Temperature Monitor | YES |  |  | 2025-09-10 | Initial Setup | AAA batteries, check daily
MS002 | Thermal Paper - MEDTOX Scanner | MEDTOX | TP-110 |  | 10333259 |  | 10 rolls/box | Box | 2 | 1 | 4 | [7 empty] | Room Temp | Supply Cabinet | MEDTOX Scanner | N/A | NO |  |  | 2025-09-10 | Initial Setup
MS003 | Variable Volume Pipette 20-200µL | Eppendorf | 3123000055 |  | 10333263 |  | 1 unit | Each | 2 | 1 | 3 | [7 empty] | Room Temp | Pipette Rack | N/A | Manual Testing | YES |  |  | 2025-09-10 | Initial Setup | Calibrate annually
MS004 | Hematek Slide Stainer Cleaning Solution | Siemens | T402 |  |  |  | 1L bottle | Each | 2 | 1 | 4 | [7 empty] | Room Temp | Hematology | Hematek Stainer | Maintenance | NO |  |  | 2025-09-10 | Initial Setup | Daily QC slide, record in maintenance log
MS005 | Nitrile Exam Gloves - Small | Kimberly-Clark | 55081 |  |  |  | 100/box | Box | 20 | 10 | 40 | [7 empty] | Room Temp | PPE Station | N/A | N/A | YES |  |  | 2025-09-10 | Initial Setup | Purple nitrile
MS006 | Nitrile Exam Gloves - Medium | Kimberly-Clark | 55082 |  |  |  | 100/box | Box | 30 | 15 | 60 | [7 empty] | Room Temp | PPE Station | N/A | N/A | YES |  |  | 2025-09-10 | Initial Setup | Purple nitrile
MS007 | Nitrile Exam Gloves - Large | Kimberly-Clark | 55083 |  |  |  | 100/box | Box | 25 | 12 | 50 | [7 empty] | Room Temp | PPE Station | N/A | N/A | YES |  |  | 2025-09-10 | Initial Setup | Purple nitrile
MS008 | Sharps Container - 5 Quart | BD | 305557 |  |  |  | 20/case | Case | 2 | 1 | 4 | [7 empty] | Room Temp | Supply Room | N/A | N/A | YES |  |  | 2025-09-10 | Initial Setup | Red containers
MS009 | QC Log Book - Chemistry | Lab Armor | QC-CHEM |  |  |  | 1 book | Each | 2 | 1 | 3 | [7 empty] | N/A | QC Area | N/A | Documentation | YES |  |  | 2025-09-10 | Initial Setup | Green binder
MS010 | Maintenance Log Book - Hematology | Lab Armor | MX-HEM |  |  |  | 1 book | Each | 2 | 1 | 3 | [7 empty] | N/A | Hematology | N/A | Documentation | YES |  |  | 2025-09-10 | Initial Setup | Green binder

## EXPIRING_ITEMS
PRIORITY | ITEM # | DESCRIPTION | QUANTITY | LOCATION | EXPIRATION DATE | DAYS UNTIL EXPIRY | LOT NUMBER | ACTION PLAN | CONTACT | STATUS
🔴 URGENT | CH001 | ALT Reagent Packs | 25 | MOB/AUC | 2025-10-31 |  | Multiple | Contact other Kaiser locations for redistribution | John F Ekpe, Ingrid Z Benitez-Ruiz | PENDING
Formulas:
DAYS UNTIL EXPIRY = [EXPIRATION DATE]-TODAY()